## Title Page
IXIT Proforma for Bluetooth Conformance Test Suites
Bluetooth System Specification
This document specifies the Implementation eXtra Information for Test (IXIT) and is a supplement to the Test Suites and ICS documents to help execute tests using Bluetooth dedicated test equipment. Supported values are given as a single value or a range depending on the nature of the parameter.
Key to the Tables of the Implementation eXtra Information for Test |  | Associated
Table | Contents | ICS document
IDP | Insulin Delivery Profile | IDP.ICS.p1
IDS | Insulin Delivery Service | IDS.ICS.p1
NOTE: A test plan will define the applicable tests to be executed on an implementation; thus, a subset of the values listed in here may need to be filled out.
Release date: | 2022-01-25
Document number: | IXIT for IDP and IDS
Document version: | p1

## Copyright
Disclaimer and Copyright Notice
This document, regardless of its title or content, is not a Bluetooth Specification as defined in the Bluetooth Patent/Copyright License Agreement (“PCLA”) and Bluetooth Trademark License Agreement. Use of this document by members of Bluetooth SIG is governed by the membership and other related agreements between Bluetooth SIG Inc. (“Bluetooth SIG”) and its members, including the PCLA and other agreements posted on Bluetooth SIG’s website located at www.bluetooth.com.
THIS DOCUMENT IS PROVIDED “AS IS” AND BLUETOOTH SIG, ITS MEMBERS, AND THEIR AFFILIATES MAKE NO REPRESENTATIONS OR WARRANTIES AND DISCLAIM ALL WARRANTIES, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY, TITLE, NON-INFRINGEMENT, FITNESS FOR ANY PARTICULAR PURPOSE, THAT THE CONTENT OF THIS DOCUMENT IS FREE OF ERRORS.
TO THE EXTENT NOT PROHIBITED BY LAW, BLUETOOTH SIG, ITS MEMBERS, AND THEIR AFFILIATES DISCLAIM ALL LIABILITY ARISING OUT OF OR RELATING TO USE OF THIS DOCUMENT AND ANY INFORMATION CONTAINED IN THIS DOCUMENT, INCLUDING LOST REVENUE, PROFITS, DATA OR PROGRAMS, OR BUSINESS INTERRUPTION, OR FOR SPECIAL, INDIRECT, CONSEQUENTIAL, INCIDENTAL OR PUNITIVE DAMAGES, HOWEVER CAUSED AND REGARDLESS OF THE THEORY OF LIABILITY, AND EVEN IF BLUETOOTH SIG, ITS MEMBERS, OR THEIR AFFILIATES HAVE BEEN ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.
This document is proprietary to Bluetooth SIG. This document may contain or cover subject matter that is intellectual property of Bluetooth SIG and its members. The furnishing of this document does not grant any license to any intellectual property of Bluetooth SIG or its members.
This document is subject to change without notice.
Copyright © 2018–2022 by Bluetooth SIG, Inc. The Bluetooth word mark and logos are owned by Bluetooth SIG, Inc. Other third-party brands and names are the property of their respective owners.

## Revisions
Revision History
Version | Date | Changes | Changes made by
p0r00 | 2018-06-20 | Initial publication | Ismail Mohamud
p1r00–r01 | 2020-07-09 – 2021-12-20 | Updated IXIT to the latest template, including editorials and aligning copyright page with v2 of the DNMD. | Ismail Mohamud, Dawn McGinty
p1 | 2022-01-25 | Approved by BTI on 2022-01-06. Prepared for TCRL 2021-2 publication. | Dawn McGinty

## IDP
Addendum to ICS proforma for Insulin Delivery Profile (IDP)
Implementation eXtra Information for Test, IXIT
Identifier | Description | Value | Units (if applicable) | Type | Comments
TSPX_iut_supported_dis_characteristics_uuid_list | List of all DIS characteristics UUIDs supported by IUT separated by ",". |  | N/A | IA5String | Set of values of all Device Information Service characteristic UUIDs that the IUT supports.
TSPX_iut_supported_battery_service_characteristics_uuid_list | List of all Battery Service characteristics UUIDs supported by IUT separated by ",". |  | N/A | IA5String | Set of values of all Battery Service characteristic UUIDs that the IUT supports.
TSPX_get_counter_counter_type | Counter Type - One of the operand of the Get Counter Op Code |  | None | Enumeration of uint8 | Counter Type Value: Provide a supported Counter Type
TSPX_get_counter_counter_value_selection | Counter Value Selection - One of the operand of the Get Counter Op Code |  | None | Enumeration of uint8 | Counter Value Selection: Provide a supported Counter Value Selection value
TSPX_idd_racp_optional_operator_op_code | IDD RACP supported Opcode for the optional operator |  |  | Enumeration of uint8 | IDD RACP Op Code: Provide a supported Op Code for the optional Operator
TSPX_idd_racp_optional_operator_operator | IDD RACP Optional Operator |  |  | Enumeration of uint8 | IDD RACP Optional Operator: Provide a supported optional Operator for the optional Operator
TSPX_idd_racp_optional_operator_operand_filter_type | IDD RACP Operand Filter Type |  |  | Variable | IDD RACP Operand - Filter Type: Provide a supported Operand Filter Type for the optional Operator
TSPX_idd_racp_optional_operand_op_code | IDD RACP |  |  | Enumeration of uint8 | IDD RACP Op Code: Provide a supported Op Code for the optional Operand
TSPX_idd_racp_optional_operand_operator |  |  |  | Enumeration of uint8 | IDD RACP Operator: Provide a supported Operator for the optional Operand
TSPX_idd_racp_optional_operand_operand_filter_type |  |  |  | Variable | IDD RACP Optional Operand - Filter Type: Provide a supported optional Operand Filter Type for the optional Operand
TSPX_bms_optional_op_code | Optional supported BMS Op Code |  |  | uint8 | BM Control Point Op Code: Provide an optional supported Op Code
TSPX_bms_optional_op_code_parameter_value | Parameter Value for the optional supported BMS Op Code |  |  | Variable | BM Control Point Parameter Value: Provide Parameter Value for the optional supported Op Code

## IDS
Addendum to ICS proforma for Insulin Delivery Service (IDS)
Implementation eXtra Information for Test, IXIT
Identifier | Description | Value | Units (if applicable) | Type | Comments
TSPX_iut_basal_rate_profile_time_block_duration | Duration for Basal rate profile template time block |  | minutes | uint16 | Duration for basal rate profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_basal_rate_profile_time_block_rate | Rate for Basal rate profile template time block |  | IU/h | SFLOAT | Rate for basal rate profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_isf_profile_time_block_duration | Duration for ISF profile template time block |  | minutes | uint16 | Duration for isf profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_isf_profile_time_block_isf | ISF profile template time block |  | mg/dL | SFLOAT | ISF for isf profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_i2cho_ratio_profile_time_block_duration | Duration for I2CHO profile template time block |  | minutes | uint16 | Duration for i2cho profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_i2cho_ratio_profile_time_block_i2cho_ratio | I2CHO Ratio for i2cho profile template time block |  | grams | SFLOAT | I2CHO Ratio for i2cho profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_target_glucose_range_profile_time_block_duration | Duration for target glucose range profile template time block |  | minutes | uint16 | Duration for target glucose range profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_target_glucose_range_profile_time_block_limit_lower | Lower Target Glucose Limit for target glucose range profile template time block |  | mg/dL | SFLOAT | Lower Target Glucose Limit for target glucose range profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_target_glucose_range_profile_time_block_limit_upper | Upper Target Glucose Limit for target glucose range profile template time block |  | mg/dL | SFLOAT | Upper Target Glucose Limit for target glucose range profile template time block: Provide range as [min_value, max_value] @ step_size; use comma-separated list, if multiple intervals with different step sizes exist; omit step_size if not applicable.
TSPX_iut_start_priming_amount_value | Amount field value for the Start Priming procedure |  | IU | SFLOAT | Operand Amount field value: Provide an Amount field value for the Start Priming procedure that will ensure that the priming would lasts long enough to ensure that the Stop Priming procedure can be performed
TSPX_iut_reservoir_insulin_operation_time_remaining_default_value | Counter type Reservoir Insulin Operation Time Remaining default value |  | minutes | int32 | Default value for the Remaining counter value for the Counter Type Reservoir Insulin Operation Time.
TSPX_iut_max_bolus_amount_value | Maximum bolus amount that can be delivered in a single bolus |  | IU | SFLOAT | Default value for the Max Bolus Amount field
TSPX_iut_bolus_type_for_the_maximum_number_of_boluses_allowed | Maximum number of allowed Bolus Type |  | None | Enumeration of uint8 | Bolus Type for the maximum number of boluses set by IUT
TSPX_iut_configured_profile_template_numbers | Profile Template Numbers of a not-configured basal rate profile template number |  | None | Array of uint8 | Profile Template Number: Provide a not configured basal rate profile template number